[image: image1.jpg])

es, Inc.

Aluminum Tank Indusin




  Aluminum Tank Industries                                                                                                   Phone 863-401-9474

  36 Spirit Lake Rd.                                                                                                                    Fax 863-401-9478

  Winter Haven, FL 33880                                                                                                        www.atitank.com

Special Permit Instruction Sheet
The information given here pertains to Special Permit 14227 for your Refueling Tank. In order to keep the Special Permit active complete the following steps. This must be completed before the tank can be filled the first time.
1. Print 

2. Fill out the top portion of the Refueling Tank Test and Inspection Form.
3. Place a complete copy of the “Refueling Tank Test and Inspection Form”, “Special Permit Instruction Sheet”, and “Special Permit 14227” in the vehicle the tank is installed in. Also, keep a copy in your office/home office; it needs to be readily available. 
4. Install tank in a workman like manner. See Refueling Tank Installation Instructions
5. Read and understand all the following information.
Benefits
This refueling tank does not need to be removed from the vehicle while refueling.

This refueling tank can be used for flammables such as gasoline.

This refueling tank is DOT legal for use in commerce.
A person is “Qualified” if

He/She has been made aware the nature of the hazardous materials the refueling tank contains.

He/She has been instructed by the owner the procedures to be followed in case of an emergency.

He/She is authorized to lawfully operate the vehicle in which the tank is installed.

He/She is physically able to perform the required tasks of refueling.

He/She is physically able to protect themselves in the event of an emergency.
Testing and Inspections   (this section only needs to be done 2 ½ years after the manufacture date and every 2 ½ years thereafter)
Refueling Tanks must be tested and inspected every 2 ½ years to keep the Special Permit valid.

Only Aluminum Tank Industries, Inc. can make a repair to the refueling tank if needed.

Test and Inspection instructions:

Remove tank contents, fuel cap/base and pump if installed. Close off bung holes using 2” npt pipe plugs.
Remove the tank from the vehicle and place tank in a suitable work area. Remove the 3/8” npt drain and install a checked air fitting. Inspect hardware for signs of excessive wear or damage and replace if necessary. Inspect exterior of tank for excessive wear or damage. If the tank passes a visual inspection it’s time to pressure test using air supplied to the fitting installed earlier to the 3/8” npt drain. Do not exceed 2.9 psi. Pressurize the tank with air. 2 psi to a maximum of 2.9 psi. Use a soap/water solution and check the tank for leaks. Relieve pressure from the tank. Relieve pressure slowly to avoid possible injury. Remove the two 2” plugs installed earlier and inspect the interior of the tank for signs of excessive wear or obvious damage. Record your findings on the Refueling Tank Test and Inspection Form. If the Refueling Tank passed the inspection and test reinstall the tank fittings.  You are now ready to reinstall the Refueling Tank in your vehicle. Email your full name and test date to specialpermit@atitank.com and we will send you a retest label at no cost that must be affixed to your refueling tank. If the Refueling Tank did not pass the inspection and/or test call Aluminum Tank Industries, Inc. 863-401-9474 for further instruction. 
PAGE  
1
Aluminum Tank Industries, Inc


