Aluminum Tank Industries, Inc.

36 Spirit Lake Rd.

Winter Haven, FL 33880

863-401-9474
Refueling Tank Test and Inspection Form
                                                            (Keep a blank copy of this form for 2 ½ year retest)
DOT SP 14227
Date of Purchase                   ___________________________
Serial Number                        ___________________________

Manufactured Date              ___________________________( found in the “DATE” section on the tag)
Class III contents used for   ___________________________

Tank Purchased from           ___________________________

        (The section below will be used 2 ½ years after the manufacture date and periodically every 2 ½ years after)
---------------------------------------------------------------------------------------------------------------------
Inspector Name                     ___________________________

& Address                               _____________________________________________
Inspection Date                     ___________________________

Test Pressure (psi)                       ___________________________ (must be between 2-2.9 psi) 
Pressure Test Results           ___________________________

Inspection Results                ________________________________________________________________________________________________________________________________________________

If the tank fails the test and/or inspection call (ATI) Aluminum Tank Industries Inc. (863) 401-9474 for further instructions.

Date of Contact__________           Person contacted at ATI ______________________

